ENERGY AND WATER STATISTICS –  2009

Introduction

This issue of the Economic and Social Indicators on Energy and Water Statistics contains data for the years 2008 and 2009. These statistics have been compiled in close collaboration with the Central Electricity Board, the Central Water Authority, the petroleum companies, the Independent Power Producers and the Meteorological Services. All data refer to the Republic of Mauritius, unless stated otherwise.

2.	Energy

2.1	Energy balance

The energy balance (Tables 1 & 2) shows the supply and final uses of energy and the different types of fuel. Total primary energy requirement, also known as Total Primary Energy Supply (TPES), is obtained as the sum of indigenous production (fuelwood, hydro, wind and bagasse) and imports (fossil fuel) less re-exports and bunkering, after stock adjustments. Final energy consumption is the total amount of energy required by end users as a final product. End-users are mainly categorised into five sectors, namely manufacturing, transport, commercial and distributive trade, households and agriculture.

In order to compare the energy content of the different fuels, a common accounting unit, namely tonne of oil equivalent (toe) is used. The conversion factors are given on page 7.

2.2	Total primary energy requirement

The total primary energy requirement of the country went down by 4.1%, from 1,404 ktoe in 2008 to 1,347 ktoe in 2009 (Table 3). Thus, in 2009, imported fuels (petroleum products and coal) accounted for 82.5% (1,111 ktoe) while locally available sources that are renewables, supplied the remaining 17.5% (236 ktoe).

In 2009, petroleum products which amounted to 741 ktoe comprised mainly fuel oil (30.7%), diesel (27.9%), aviation fuel (14.9%) and gasolene (16.3%).

In 2009, coal was 369 ktoe, which showed an 8.7% decrease over the 404 ktoe of 2008.

The local production (236 ktoe) comprised renewables including bagasse (92.2%), hydro/wind electricity (4.5%), and fuelwood (3.3%) .

The total primary energy requirement index, with 1990 as base year (1990 = 100), decreased by 4.1%, from 192.2 in 2008 to 184.3 in 2009 and the per capita primary energy requirement decreased by 4.5%, from 1.11 toe to 1.06 toe (Table 16).

‘Energy intensity’ defined as total primary energy requirement (toe) per Rs 100,000 of GDP (in 1990 rupees) provides a measure of the efficiency with which energy is being used in production. As shown in Table 16, ‘Energy intensity‘, which stood at 1.53 in 2008, went down to 1.43 in 2009. A lower ratio usually reflects a more efficient use of energy.

2.2.1 	Local production

Total energy production from local renewable sources fell by 10.6% from 264 ktoe in 2008 to 236 ktoe in 2009. This was primarily due to a lower production of bagasse. Thus generation from bagasse decreased from 246 ktoe to 218 ktoe. However, production of hydroelectricity increased from 9.3 ktoe to 10.7 ktoe. (Table 3).

2.2.2	Imports of energy sources

Data on total imports of energy sources show that some 1,320 ktoe of petroleum products and coal were imported in 2009 compared with 1,451 ktoe in 2008, representing a decrease of 9.0%. Petroleum products went down from 1,075 ktoe to 973 ktoe (-9.5%) and coal from 376 ktoe to         347 ktoe (-7.7%).

The import bill of petroleum products and coal went down to Rs 17,408 million in 2009, showing a 37.0% decrease over Rs 27,635 million of the preceding year. (Table 4 and Figures 2,3,4 & 5)

2.2.3	Re-exports and bunkering

Of the 1,320 ktoe of imported energy sources in 2009, about 323 ktoe (24%) were supplied to foreign marine vessels and aircraft, showing a decrease of 5.3% over 2008 figures. Re-exports consisted of 110 ktoe of aviation fuel (34.1%), 110 ktoe of diesel oil (33.9%), and 103 ktoe of fuel oil (32.0%) (Table 5). The following changes were noted as compared over the previous year: Aviation fuel -15.7%, Fuel Oil +11.9%, Diesel -7.4%, overall 5.3%.

2.3	Electricity generation

Some 2,577 GWh (222 ktoe) of electricity was generated in 2009 as compared with 2,557 GWh (220 ktoe) in 2008, representing an increase of 0.8 %.  The Independent Power Producers (IPPs) supplied 58.2% of the total electricity generated and the Central Electricity Board (CEB), only 41.8%. Thermal energy represented 95% and hydro/wind 5%. The peak demand in 2009 reached 388.6 MW (+2.8%) in the Island of Mauritius as compared with 378.1 MW in 2008.  (Tables 6, 7 and 8).

2.3.1	Fuel input for electricity generation

The different types of fuel used for electricity generation are shown in Table 9.  Fuel input decreased by 2.9%, from 751 ktoe in 2008 to 729 ktoe in 2009. The major components of the fuel input were coal, the dominant fuel, (48.9%), fuel oil (25.1%) and bagasse (24.9%).

    - Electricity sales and consumption

Electricity sales increased by 0.7% from 2,054 GWh in 2008 to 2,069 GWh in 2009. The average sales price of electricity went up by 6.1%, from Rs 4.90 per kWh to Rs 5.20 per kWh, during the same period (Table 10).

The per capita consumption of electricity sold per annum stood at 1,623 kWh in 2009 compared with 1,619 kWh in 2008 (Table 16).

  - Final energy consumption

Final energy consumption fell by 3.8% from 841 ktoe in 2008 to 809 ktoe in 2009. “Transport” and “Manufacturing” were the two largest energy-consuming sectors accounting for 48.4% and 27.7% of energy consumed respectively. They were followed by “Household” (14.0%), “Commercial and Distributive Trade” (8.9%) and Agriculture (0.5%). The details on the different types of fuel consumed by each sector and the respective amounts are given in Table 11.

    - Manufacturing

Energy used for manufacturing processes decreased by 9.7% from 248 ktoe in 2008 to 224 ktoe in 2009. The contribution of electricity was 77 ktoe (9.5%), diesel oil, 46 ktoe (5.7%) fuel oil, 45 ktoe (5.6%), and bagasse, 36 ktoe (4.5%).

    - Transport

In 2009, some 391 ktoe of energy were used for transportation, representing a decrease of 3.7% over last year’s figure of 406 ktoe. Consumption of gasolene increased from 110 ktoe to 121 ktoe (+10.0%) and that of diesel oil from 154 ktoe to 155 ktoe (+0.6%). Consumption of aviation fuel decreased from 136 ktoe in 2008 to 110 ktoe in 2009 (-19.1%) and the use of LPG in the transport sector decreased from 5.6 ktoe in 2008 to 5.0 ktoe in 2009 (-10.7%).

    - Commercial and Distributive Trade

Total energy consumption by “Commercial and Distributive Trade” sector rose by 4.6%, from 69.1 ktoe in 2008 to 72.3 ktoe in 2009. This sector witnessed an increase of electricity consumption from 58 ktoe to 61 ktoe (+5.2%) and LPG consumption from 10.9 ktoe to 11.4 ktoe (+4.6%).

2.4.4	Household

Energy consumed by households (excluding transport) increased by 2.7%, from 110 ktoe in 2008 to 113 ktoe in 2009. The two main sources of energy for households were electricity and LPG, representing 52% and 41% respectively of total energy consumed by households. Consumption of electricity increased by 4.3% and that of LPG by 2.0%.

    - Agriculture

Energy consumption in ‘Agriculture’ went down from 4.5 ktoe in 2008 to 4.1 ktoe in 2009      (-8.9%). Electricity and diesel were the only two sources of energy used in this sector. In 2009, about 1.8 ktoe of electricity were used mainly for irrigation while 2.3 ktoe of diesel oil were used for mechanical operations in fields.

### Water

  - Rainfall

Table 12 shows the amount of rainfall recorded around the Islands of Mauritius and Rodrigues. During the year 2009, the mean amount of rainfall recorded around the Island of Mauritius was 2,397 millimetres, a 0.6% increase compared with the 2,382 millimetres registered in 2008. March was the wettest month with 352 mm while September was the driest, registering only 73 mm of rainfall.

For the Island of Rodrigues, the mean rainfall registered in 2009 was 949 millimetres compared with 1,055 mm in 2008. The month of February recorded the highest amount of rainfall with 130 mm while October and November were driest with 32 mm.

    - Water storage level

In 2009, the minimum and maximum percentage water storage level of the different reservoirs were as follows:

| Reservoir | % Minimum (month) | % Maximum (month) |
| --- | --- | --- |
| Mare aux Vocoas | 64 (Jan) | 93 (May) |
| La Nicoliere | 59 (Dec) | 100 (Jan-Jun),(Aug-Sep),(Nov) |
| Piton du Milieu | 73 (Oct) | 100 (Jan-May) |
| La Ferme | 81 (Jan,Oct) | 100 (Jan-Jun),(Nov-Dec) |
| Mare Longue | 69 (Jan,Oct) | 100 (April) |
| Midlands Dam | 81 (Jan) | 100 (Feb-Oct),(Dec) |

Mean water level in 2009 for all reservoirs combined together (excluding Midlands Dam) varied from 77% to 94% (Table 13). It is to be noted that the mean water level is computed as the average level during a month while the normal is the long term mean averaged over the period 1990 to 1999.

    - Water production

In 2009 the total volume of potable water treated by the different treatment plants amounted to 220 million cubic metres (Mm3), up by 5.3% compared with 209 Mm3 in 2008. During the same year, average water production from surface and ground water represented 49.7% and 50.3% respectively (Table 14).

    - Water sales and revenue collectible

Total volume of water sold increased from 108.8 Mm3 in 2008 to 110.2 Mm3 in 2009        (+1.4%). In 2009, potable water made up 88.7% of the volume sold and the remaining 11.3% consisted of non-treated water. Water for domestic consumption was to 75.1 Mm3, accounting for nearly 68.1% of the total volume of water sold.

The amount of revenue collectible for the year 2009 was to Rs 998.8 million, that is an increase  of 3.8% over the amount of Rs 961.9 million for 2008 (Table 15).

Central Statistics Office

Ministry of Finance and Economic Development

Port Louis

June 2010

Contact person:

Mr. A. Sookun (Statistician)

Mrs. N. Meenowa (Senior Statistical Officer)

Tel. No. ( 230) 213 3077 Fax: (230) 211 4150 Email: cso_energy @mail.gov.mu

Concepts and Terminology

The energy data have been compiled according to the recommendations of the United Nations Manual, Series F No. 29 on Energy Statistics.

- Energy

Energy means the capacity for doing work or for producing heat. Producing heat is a common manifestation of "doing work" as are producing light and motive force.

- Primary energy

Primary energy designates energy from sources that involve only extraction or capture, with or without separation from contiguous material, cleaning or grading, before the energy embodied in that source can be converted into heat or mechanical work.  Primary energy is not derived from any other form of energy.  By convention, sources of energy that occur naturally such as coal, natural gas, fuel wood are termed primary energy.

- Secondary energy

Secondary energy designates energy from all sources of energy that results from transformation of primary sources.

-	Fuels

The term fuel is used to describe those energy sources, whether primary or secondary, that must be subjected to combustion or fission in order to release for use the energy stored up inside them.

- Re-export of bunkers and aviation fuel

Bunkers relate to fuels sold to ships irrespective of their flags of ownership or registration.  Re-exports include aviation fuel delivered to foreign aircraft.  Aviation fuel delivered to aircraft owned by the national airline is included as final consumption in the transport sector.

- Primary energy requirement

It is the sum of imported fuels and locally available fuels less re-exports of bunkers and aviation fuel to foreign aircraft after adjusting for stock changes.

-	Primary energy input to hydro electricity.

The primary energy input to hydro electricity is defined as the energy value of the electricity generated from hydro.

Energy conversion factors

The following energy conversion factors have been used to express the energy content for the different fuels in terms of a common accounting unit, tonnes of oil equivalent (toe).

Tonne			 toe

Gasolene					1			1.08

Diesel Oil					1			1.01

Dual Purpose Kerosene (DPK)		1			1.04

Fuel oil					1			0.96

Liquefied Petroleum Gas (LPG)		1			1.08

Coal						1			0.62

Bagasse					1			0.16

Fuel Wood					1			0.38

Charcoal					1			0.74

GWh			toe

Hydro/Wind					1			86

Electricity					1			86

1 toe  =   41.84 gigajoule (net calorific value)

ABBREVIATIONS

The following technical abbreviations have been used throughout the report.

toe		Tonne of oil equivalent

ktoe		Thousand tonnes of oil equivalent

LPG		Liquefied Petroleum Gas

MW		Megawatt (1,000 kW)

kWh		Kilowatt hour

GWh		Gigawatt hour

Mm3                 Millimetres

# ACRONYMS

CEB			Central Electricity Board

IPP			Independent Power Producers

GDP			Gross Domestic Product